## Slide 2: The Future of Power is Distributed
Technology improvements
  Solar, storage, communications, controls
Erases advantage of centralized plants

## Slide 3: The 6 D’s of Our Energy Future
Distributed
Decentralized
Decarbonized
Diverse
Digitized
Democratized

## Slide 4: Getting to True Zero is Hard
CO2 Emissions (kg/yr.)
LCOE ($/kWh)
$2/watt PV, $300/kWh Lithium batteries (Total Installed Cost)
$0.24/kWh
$1.12/kWh
$0.38/kWh
No Renewables

## Slide 5: Getting to True Zero is Hard
CO2 Emissions (kg/yr.)
LCOE ($/kWh)
$2/watt PV, $300/kWh Lithium batteries (Total Installed Cost)
$0.24/kWh
$1.12/kWh
$0.38/kWh
No Renewables

## Slide 6: Getting to True Zero Will Continue to be Hard
CO2 Emissions (kg/yr.)
LCOE ($/kWh)
$1/watt PV, $100/kWh Lithium batteries (Total Installed Cost)
$0.38/kWh
No Renewables
$0.169/kWh
$0.55/kWh

## Slide 7: Why Is That Last 10% So Hard?
Requires large amounts of storage
  Some of which is only used very occasionally
Experience with smaller 100% renewable systems
  Aggressive load management
Where is the Smart Grid?

## Slide 8: Clean Power Evolution
Smart, Clean Micro Grids
Smart Super Grid
Hybrid Renewable Power Systems
Major Utilities
Remote Diesels
Backup Diesels
Island Power Systems
Smaller Systems
Liquid fuels from oil
High renewable penetrations
Large Utilities
Security obstacles
Regulatory obstacles

## Slide 9: Today’s modern microgrid
Grid
Wind
Generator
Controls
Storage
Electric Load
Solar
A microgrid can be connected to a larger grid or operate independently.
Reasons for microgrids:
Improved resiliency
Economics
Clean energy mandate
Grid firming
Peak demand reduction

## Slide 10: Microgrid Markets
Off-Grid
  Energy Access
    No existing infrastructure
  Island & isolated utilities
    Existing diesel-based power system
Grid-Connected (behind the meter)
  Reliability & resilience
  Utility cost management
    Demand charge, TOU, and sellback restrictions

## Slide 11: Micro Grid Value Propositions
Forward Operating Bases
Military Bases
Backup for Unreliable Grids
Energy Access
Energy Cost Savings
Reduced Emissions
RE & EV Integration
Ecotourism
Campuses
Islands
Mines
Emergency Services & Critical Infrastructure
Reliability
Demand Mgmt.
Telecomm

## Slide 12: Distributed Storage Has More Value
Value for Distributed Projects
  Reliability
  Utility rate management
    Demand charges
    TOU rates
    Sellback restrictions
  Voltage VAR stability
Value for Centralized Projects
  Increase transmission loading from large RE Projects
Location Agnostic
  Frequency regulation
  Duck Curve

## Slide 13: Too Many Choices
Solar
Wind
Biomass
Hydro
Geothermal
Micro-turbines
Fuel Cells
New Storage Techs.
Electric Vehicles
Demand Response
Load Management
Smart grids
Micro-grids

## Slide 14: What is best?
It depends on:
  Resources
  Loads
  Equipment prices
  Equipment performance
A confused mind says “No!”
HOMER fits the pieces together

## Slide 15
How HOMER Works
Results
Economic & Engineering
System Sizing
Performance Details
Financials
Various Reports
Load Profile
Site-Specific Resources
System Components
Project Inputs
Simulation
Optimization
Sensitivity Analysis
Analysis

## Slide 16: HOMER Energy
1992 – 2008 at NREL
2009: HOMER Energy created with exclusive license
>250,000 people have used HOMER
>100,000 opted-in to our network
Global Data
3 million HOMER files
70,000 projects modeled since 2014
Designing Hybrid Systems for over 25 years

## Slide 17
HOMER Users…
Developers
Utilities
Component
Suppliers
Engineering
Firms
Government &
Financial
Institutions
Education

## Slide 18
HOMER Connects the Micro Grid World
HOMER Model
Renewable Advocates
Utility Operators
Power Engineers
Financiers
Software as a communication tool

## Slide 19: Try HOMER for Free
http://quickstart.homerenergy.com/
Free to use SaaS based – Nothing to download
https://www.homerenergy.com/homer-pro.html
HOMER’s “Flagship product” – Can model virtually any distributed energy generation or storage technology on or off the grid.
https://www.homerenergy.com/products/grid/index.html
HOMER’s demand charge reduction tool with utility rate database
(United States, Canada and Mexico)
Grid